Experiences in Building Python Automation Framework for Verification and Data Collection
Juki W. Tantra
PyCon APAC 2010

---
IC Design House
- Wireless sound ASIC.
- Mainly embedded into HTS, soundbars, and headphones.
- Two main selling points:
  - High quality audio
  - Robust wireless transmissions.

---
Automation Framework
- Control device under test (DUT) and test equipments to perform specific measurements.
- Examples:
  - Measure power consumption with various settings or over time
  - Measure RF sensitivity in various environments
  - Detect audio defects over time.
- Common features:
  - Control DUT
  - Control various equipments.

---
Automation Framework Benefits
- Time-saving
  - Utilize weekends and nightime to do automated tests and data collections.
- Reduce manpower needs
  - Remove manual operations.
- Open up new possibilities
  - Time-consuming data collection becomes possible.

---
Goals of Our Automation Framework
- Easy-to-use framework based on Python that many engineers can start using immediately.
- Reduce the required test time by automating test cases.
- Extensibility of the framework to support various use: scheduled run, control of various equipment, and remote control/execution of the script.

---
Why Python?
- No compilation necessary
- Python is easy to read and is very flexible
- Python is mature with much supports behind it
- I love Python

---
Examples of Current Capabilities
- Power measurements
- Oscilloscope control
- Signal generator control
- Spectrum analyzer control
- Power supply control
- Audio Precision control
- DUT control

---
PyVISA and VISA
- VXIplug&play I/O software language (VISA):
  - The interfacing protocol adopted by most of the test equipment vendors
  - VISA drivers (free) are available from NI, Agilent, and Tektronics.
- PyVISA written by Torsten Bronger
  - Provides the necessary abstraction of the VISA driver
  - Python wrapper of the VISA dll.

---
Example with Oscilloscope

---
Basic Library for Oscilloscope

---
Power Measurement

---
Who are the users?
- Test engineers
- RF design engineers
- ASIC design engineers
- Notepad++ for Windows http://notepad-plus.sourceforge.net/uk/site.htm
- No IDE
- SVN for code repositories

---
Ingredients
Example codes
Over 50 examples
- Intuitive to use library
- Software consultant

---
Benefits Quantified

---
Python in This Field
- Common norm: VB, LabVIEW
- Python has all the necessary requirements to be dominant here
- Will Python be the preferred choice here?